## Instructions
SunSpec Protocol Information Conformance Statement (PICS) and Test Results Template
Version 1.3
2019-11-01
Instructions
For each product to be submitted to SunSpec for certification:
1. Complete the PICS tab(s) for the certification type.
2. Input test result in the TEST RESULTS tab for the certification type. For SunSpec RSD certification, be sure to complete both the "SunSpec RSD Test Results" and "SunSpec RSD Test Results Detail" tabs.
3. Save the spread sheet and give it a name in the following format: CertificationType_CustomerName_TestLabName_date.xls
Examples:
SunSpecRSD_AcmeInc_AlphaTestLab_04202019.XLS
IEEE2030dot5CSIP_CommCorpo_FirstTestLab_10312019.XLS
4. Email the spreadsheet to certification@sunspec.org
License Agreement and Copyright Notice
This document and the information contained herein is provided on an "AS IS" basis and the SunSpec Alliance DISCLAIMS ALL WARRANTIES, EXPRESS OR IMPLIED, INCLUDING BUT NOT LIMITED TO ANY WARRANTY THAT THE USE OF THE INFORMATION HEREIN WILL NOT INFRINGE ANY OWNERSHIP RIGHTS OR ANY IMPLIED WARRANTIES OF MERCHANTABILITY OR FITNESS FOR A PARTICULAR PURPOSE.
This document may be used, copied, and furnished to others, without restrictions of any kind, provided that this document itself may not be modified in anyway, except as needed by the SunSpec Technical Committee and as governed by the SunSpec IPR Policy. The complete policy of the SunSpec Alliance can be found at https://sunspec.org.

## IEEE 2030.5 CSIP PICS
SunSpec IEEE 2030.5/CSIP PICS Template
Version 1.3
2019-11-01
Information Provided By The Customer
Company Name | Ampcontrol Technologies Inc. | ACME Inc | Enter the official name of the company that the SunSpec Certificate is issued to.
Company Address | 345 7th Ave | 569 Regents Park Avenue | Enter the official street Address of the company that the SunSpec Certificate is issued to.
Company City | New York | Boston | Enter he City associated with the official address of the Company.
Company State/Province | NY | MA | Enter the State or Province associated with the official address of the Company. If not applicable, enter "Not Applicable."
Company Country | United States | United States | Enter the Country associated with the official address of the Company.
Company Postal Code | 10001 | 12345 | Enter the Postal Code associated with the official address of the Company.
SunSpec Certificate Type | IEEE 2030.5/CSIP | IEEE 2030.5/CSIP | Select SunSpec Certificate Type requested.
SunSpec Device Category | Aggregator | Client | Select the category of device to be evaluated.
Test Laboratory | UL | ABC Test Lab | Select the SunSpec Authorized Test Laboratory that will perform the test.
Software Operating Environment Type | Cloud | Cloud | Select the operating environment type in which the certified Software runs.
Software Name <n> | der_aggregator.py | ABC2030client.exe | Enter the file name of the certified Software including file type suffix. Multiple fields of this type may be present. Individual fields are distinguished by adding a number at the end of the key label.
Software Version <n> | 1.0 | 11.01 | Enter the version number of the certified software. Multiple fields of this type may be present. Individual fields are distinguished by adding a number at the end of the key label.
Software Checksum <n> | be3a4f4dd6be32e7ed2bae60fb3e1adcdb5e0f4a436365f1226a24cf061c922b | 423EC0E4 | Enter the Checksum of the SunSpec Certified software. Multiple fields of this type may be present. Individual fields are distinguished by adding a number at the end of the key label.
Operating System <n> | Debian Trixie | Ubuntu | Enter the name of the Operating System in which the certified Software runs.
Operating System Version <n> | 13 | 18.04 | Enter the Major version number plus first digit of minor version number of the Operating System in which the certified Software operates, expressed as "X.X". Multiple fields of this type may be present. Individual fields are distinguished by adding a number at the end of the key label.
Cloud Platform Provider | Google | Cloud Company | Enter the name of cloud platform provider that hosts the certified Software. If not applicable, enter "Not Applicable."
Cloud Platform Name | Google Cloud Platform | Hosting Plaform for DER | Enter the name of the cloud platform product that the operates the certified Software. If not applicable, enter "Not Applicable."
Cloud Platform Version | Not Applicable | 1.2 | Enter the version of cloud platform that operates the certified Software. If not applicable, enter "Not Applicable."
Product Name <n> | Ampcontrol DER Aggregator | Acme Powermaster | Enter the name of the Product that incorporates the SunSpec Certified Software or Component. Multiple fields of this type may be present. Individual fields are distinguished by adding a number at the end of the key label.
Product Model <n> | AMPDERA01 | DX120 | Enter the model of the Product that incorporates the SunSpec Certified Software or Component. Multiple fields of this type may be present. Individual fields are distinguished by adding a number at the end of the key label.
Product Object ID <n> | FC1-W |  | A unique number that is used to identify Product Name/Product Model combinations. Used to to populate the field "HwType OID" in a digital certificate as specified in the IEEE 2030.5-2018 standard.
Reserved For SunSpec Alliance
SunSpec Certificate Number | CS-0000105
Certificate Signer Name | Erin Mahan
Certificate Issued Date | 2026-03-03
Certificate Archive Location | https://sunspec.org/wp-content/uploads/2009/03/Ampcontrol_CSIP-2030.5_Certificate_CS000105.pdf

## IEEE 2030.5 CSIP Test Results
SunSpec IEEE 2030.5/CSIP Test Results
Information Provided By SunSpec Authorized Test Laboratory
Instructions
Customer Name | Ampcontrol Technologies Inc. |  | Automatically populated by IEEE 2030.5/CSIP PICS template.
Test Completion Date | 2026-02-18 and 2026-02-19 |  | Enter the date when the test was performed by the Test Lab.
Supervising Test Engineer | Christian Henss |  | The name of the engineer who supervised the test process.
Test Comments | QL FTS test tool v4.80 was used for testing. MAINT-002 and MAINT-006 are not in the QL Test Tool and are not required per SunSpec CSIP Conformance Test Procedure |  | Comments pertaining to the certification test.
Test Name | Test Description | Result | Instructions
AGG-001 | Aggregator Operation Subscription [A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
AGG-002 | Aggregator Event - 2 DERP, 2 DDERC, 0 DERC [A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
AGG-003 | Aggregator Event - 1 DERP, 0 DDERC, 1 DERC [A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
AGG-004 | Aggregator Event - 1 DERP, 1 DDERC, 1 DERC [A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
AGG-005 | Aggregator Event - 1 DERP, 1 DDERC, 2 Non-overlapping Similar DERC [A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
AGG-006 | Aggregator Event - 2 DERP, 2 DDERC, 2 Non-overlapping Similar DERC [A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
AGG-007 | Aggregator Event - 2 DERP, 2 DDERC, 2 Overlapping Similar DERC - System DERC followed by Transformer DERC before Start of System DERC [A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
AGG-008 | Aggregator Event - 2 DERP, 2 DDERC, 2 Overlapping Similar DERC - Transformer DERC followed by System DERC [A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
AGG-009 | Aggregator Event - 2 DERP, 2 DDERC, 2 Overlapping Similar DERC - Transformer DERC followed by System DERC after Start of System Event [A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
AGG-010 | Aggregator Event - 2 DERP, 2 DDERC, 2 Overlapping Independent DERC - System DERC followed by Transformer DERC before Start of System DERC [A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
AGG-011 | Aggregator Event - 2 DERP, 2 DDERC, 2 Overlapping Independent DERC - Transformer DERC followed by System DERC [A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
AGG-012 | Aggregator Event - 2 DERP, 2 DDERC, 2 Overlapping Independent DERC - Transformer DERC followed by System DERC after Start of System Event [A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-001 | DER Identification [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-002 | Basic Group Management [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-003 | Advanced Group Management [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-004 | Basic Inverter Control (Low/High Voltage Ride-Through) [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-005 | Basic Inverter Control (Low/High Frequency Ride -Through) [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-006 | Basic Inverter Control (Volt/Var) [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-007 | Basic Inverter Control (Ramp Rates) [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-008 | Basic Inverter Control (Fixed Power Factor) [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-009 | Basic Inverter Control (Connect/Disconnect) [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-010 | Basic Inverter Control (Limit Max Active Power Mode) [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-011 | Basic Inverter Control (Volt-Watt) [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-012 | Basic Inverter Control (Frequency-Watt) [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-015 | Advanced Inverter Control [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-016 | Event - 2 DERP, 2 DDERC, 0 DERC [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-017 | Event - 1 DERP, 0 DDERC, 1 DERC [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-018 | Event -1 DERP, 1 DDERC, 1 DERC [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-019 | Event - 1 DERP, 1 DDERC, 2 Non-overlapping Similar DERC [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-020 | Event - 2 DERP, 2 DDERC, 2 Non-overlapping Similar DERC [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-021 | Event - 2 DERP, 2 DDERC, 2 Overlapping Similar DERC - System DERC followed by Service Point DERC before Start of System DERC [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-022 | Event - 2 DERP, 2 DDERC, 2 Overlapping Similar DERC - Service Point DERC followed by System DERC [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-023 | Event - 2 DERP, 2 DDERC, 2 Overlapping Similar DERC - System DERC followed by Service Point DERC after Start of System Event [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-024 | Event - 2 DERP, 2 DDERC, 2 Overlapping Independent DERC - System DERC followed by Service Point DERC before Start of System DERC [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-025 | Event - 2 DERP, 2 DDERC, 2 Overlapping Independent DERC - Service Point DERC followed by System DERC [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-026 | Event - 2 DERP, 2 DDERC, 2 Overlapping Independent DERC - System DERC followed by Service Point DERC after Start of System Event [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-027 | Alarms [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-028 | Inverter Status [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-029 | Inverter Meter Reading [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
COMM-002 | Basic Discovery (Out-of-Band) [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
COMM-003 | Basic Security [C,A,S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
COMM-004 | Advanced Security [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
CORE-003 | Polling Interaction [C, A] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
CORE-005 | Basic Time [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
CORE-009 | Advanced End Device [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
CORE-010 | Function Set Assignments [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
CORE-011 | Advanced Function Set Assignments [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
CORE-012 | Basic DER Program/Control [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
CORE-013 | Advanced DER Program/Control [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
CORE-014 | Basic DER Settings (Power Generating) [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
CORE-018 | Basic Subscription [A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
CORE-019 | Advanced Subscription [A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
CORE-021 | Randomized Events [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
CORE-022 | Responses [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
ERR-001 | Error Scenario 1 [C, A] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
ERR-002 | Error Scenario 2 [A] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
MAINT-001 | Inverter Maintenance (Out-Of-Band) [A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
MAINT-002 | Inverter Maintenance (In-Band) [A, S] | NOT APPLICABLE | Select Test Result By Picking From Options In Drop Down Menu.
MAINT-003 | Group Maintenance [A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
MAINT-004 | Maintenance of Controls [A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
MAINT-005 | Maintenance of Programs [A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
MAINT-006 | Maintenance of Subscriptions [A, S] | NOT APPLICABLE | Select Test Result By Picking From Options In Drop Down Menu.
UTIL-002 | Utility - Aggregator Operations Commissioning [A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
UTIL-003 | Utility - Aggregator Operations Group Assignments Retrieval [A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
UTIL-004 | Utility - Aggregator Operations DER Retrieval [A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.