## Certification Info
Certificate Number | SM-000022
Location | No.90 Zijin Rd., New District, Suzhou, 215011, China
Date | 2022-08-11 10:23
Manufacturer Name | GoodWe Technologies Co., Ltd.
Product Name | Hybrid Inverter
Product Models | GW5KL-ET,GW6KL-ET,GW8KL-ET,GW10KL-ET,GW5K-ET,GW6.5K-ET,GW8K-ET,GW10K-ET,GW5KN-ET,GW6.5KN-ET,GW8KN-ET,GW10KN-ET,GW5K-BT,GW6K-BT,GW8K-BT,GW10K-BT,GW50K-BTC,GW100K-BTC,GW50K-ETC,GW100K-ETC、GW50K-ET-L-G10、GW75K-ET-G10、GW80K-ET-G10、GW99.99K-ET-G10、GW100K-ET-G10、GW125/261-ESA-LCN-G10、GW6000-ES-20、GW5000-ES-20、GW3600-ES-20、GW3000-ES-20、GW6000M-ES-20、GW5000M-ES-20、GW3600M-ES-20、GW6000-SBP-20、GW5000-SBP-20、GW3600-SBP-20、GW6000-ET-20、GW8000-ET-20、GW10K-ET-20、GW12K-ET-20、GW15K-ET-20、GW30K-ET、GW29.9K-ET、GW25K-ET、GW20K-ET、GW40K-ET-10、GW50K-ET-10、GW15K-ET、GW5K-ET-L-G10、GW6K-ET-L-G10、GW8K-ET-L-G10、GW10K-ET-L-G10、GW12K-ET-L-G10、GW15K-ET-L-G10、GW20K-ET-L-G10、GW5K-ETA-G20 、GW6K-ETA-G20 、GW8K-ETA-G20 、GW10K-ETA-G20 、GW15K-ETA-G20 、GW20K-ETA-G20 、GW25K-ETA-G20 、GW30K-ETA-G20
Product Description | Solar Inverter
SunSpec Certificate Number | SM-000022
Certificate Signer Name | Erin Mahan
Certificate Issued Date | 2022-08-15
Certificate Archive Location | https://sunspec.org/wp-content/uploads/2009/03/Goodwe_Modbus-Cert_SM000022.pdf

## Testing Info
Tester | Bob Fox
Email | bob@sunspec.org
Interface Type | RTU | Note: TCP or RTU
Baud Rate | 9600
Slave Id | 247

## 1
Address | Point | Subvalue | Value | R/W | Min | Max | Conformance Notes
40002 | ID |  | 1 | R
40003 | L |  | 66 | R
40004 | Mn |  | GOODWE | R
40020 | Md |  | GW10K-ET | R
40036 | Opt |  | unimplemented | R
40044 | Vr |  | 0809 | R
40052 | SN |  | 9010KETU19BW0078 | R
40068 | DA |  | supported | RW
40069 | Pad |  | 32768 | R

## 103
Address | Point | Subvalue | Value | R/W | Min | Max | Conformance Notes
40070 | ID |  | 103 | R
40071 | L |  | 50 | R
40072 | A |  | supported | R
40073 | AphA |  | supported | R
40074 | AphB |  | supported | R
40075 | AphC |  | supported | R
40076 | A_SF |  | supported | R
40077 | PPVphAB |  | unimplemented | R
40078 | PPVphBC |  | unimplemented | R
40079 | PPVphCA |  | unimplemented | R
40080 | PhVphA |  | supported | R
40081 | PhVphB |  | supported | R
40082 | PhVphC |  | supported | R
40083 | V_SF |  | supported | R
40084 | W |  | supported | R
40085 | W_SF |  | supported | R
40086 | Hz |  | supported | R
40087 | Hz_SF |  | supported | R
40088 | VA |  | unimplemented | R
40089 | VA_SF |  | unimplemented | R
40090 | VAr |  | unimplemented | R
40091 | VAr_SF |  | unimplemented | R
40092 | PF |  | unimplemented | R
40093 | PF_SF |  | unimplemented | R
40094 | WH |  | unimplemented | R
40096 | WH_SF |  | supported | R
40097 | DCA |  | unimplemented | R
40098 | DCA_SF |  | unimplemented | R
40099 | DCV |  | unimplemented | R
40100 | DCV_SF |  | unimplemented | R
40101 | DCW |  | unimplemented | R
40102 | DCW_SF |  | unimplemented | R
40103 | TmpCab |  | supported | R
40104 | TmpSnk |  | unimplemented | R
40105 | TmpTrns |  | unimplemented | R
40106 | TmpOt |  | unimplemented | R
40107 | Tmp_SF |  | supported | R
40108 | St |  | supported | R
|  | OFF | supported
|  | SLEEPING | supported
|  | STARTING | supported
|  | MPPT | supported
|  | THROTTLED | supported
|  | SHUTTING_DOWN | supported
|  | FAULT | supported
|  | STANDBY | supported
40109 | StVnd |  | unimplemented | R
40110 | Evt1 |  | supported | R
|  | GROUND_FAULT | supported
|  | DC_OVER_VOLT | supported
|  | AC_DISCONNECT | supported
|  | DC_DISCONNECT | supported
|  | GRID_DISCONNECT | supported
|  | CABINET_OPEN | supported
|  | MANUAL_SHUTDOWN | supported
|  | OVER_TEMP | supported
|  | OVER_FREQUENCY | supported
|  | UNDER_FREQUENCY | supported
|  | AC_OVER_VOLT | supported
|  | AC_UNDER_VOLT | supported
|  | BLOWN_STRING_FUSE | supported
|  | UNDER_TEMP | supported
|  | MEMORY_LOSS | supported
|  | HW_TEST_FAILURE | supported
40112 | Evt2 |  | unimplemented | R
40114 | EvtVnd1 |  | unimplemented | R
40116 | EvtVnd2 |  | unimplemented | R
40118 | EvtVnd3 |  | unimplemented | R
40120 | EvtVnd4 |  | unimplemented | R

## 120
Address | Point | Subvalue | Value | R/W | Min | Max | Conformance Notes
40122 | ID |  | 120 | R
40123 | L |  | 26 | R
40124 | DERTyp |  | supported | R
|  | PV | supported
|  | PV_STOR | supported
40125 | WRtg |  | supported | R
40126 | WRtg_SF |  | supported | R
40127 | VARtg |  | supported | R
40128 | VARtg_SF |  | supported | R
40129 | VArRtgQ1 |  | supported | R
40130 | VArRtgQ2 |  | supported | R
40131 | VArRtgQ3 |  | supported | R
40132 | VArRtgQ4 |  | supported | R
40133 | VArRtg_SF |  | supported | R
40134 | ARtg |  | supported | R
40135 | ARtg_SF |  | supported | R
40136 | PFRtgQ1 |  | supported | R
40137 | PFRtgQ2 |  | supported | R
40138 | PFRtgQ3 |  | supported | R
40139 | PFRtgQ4 |  | supported | R
40140 | PFRtg_SF |  | supported | R
40141 | WHRtg |  | unimplemented | R
40142 | WHRtg_SF |  | unimplemented | R
40143 | AhrRtg |  | unimplemented | R
40144 | AhrRtg_SF |  | unimplemented | R
40145 | MaxChaRte |  | unimplemented | R
40146 | MaxChaRte_SF |  | unimplemented | R
40147 | MaxDisChaRte |  | unimplemented | R
40148 | MaxDisChaRte_SF |  | unimplemented | R
40149 | Pad |  | supported | R

## 121
Address | Point | Subvalue | Value | R/W | Min | Max | Conformance Notes
40150 | ID |  | 121 | R
40151 | L |  | 30 | R
40152 | WMax |  | supported | RW
40153 | VRef |  | supported | RW
40154 | VRefOfs |  | supported | RW
40155 | VMax |  | supported | RW
40156 | VMin |  | supported | RW
40157 | VAMax |  | unimplemented | RW
40158 | VArMaxQ1 |  | unimplemented | RW
40159 | VArMaxQ2 |  | unimplemented | RW
40160 | VArMaxQ3 |  | unimplemented | RW
40161 | VArMaxQ4 |  | unimplemented | RW
40162 | WGra |  | supported | RW
40163 | PFMinQ1 |  | unimplemented | RW
40164 | PFMinQ2 |  | unimplemented | RW
40165 | PFMinQ3 |  | unimplemented | RW
40166 | PFMinQ4 |  | unimplemented | RW
40167 | VArAct |  | unimplemented | RW
|  | SWITCH | unimplemented
|  | MAINTAIN | unimplemented
40168 | ClcTotVA |  | unimplemented | RW
|  | VECTOR | unimplemented
|  | ARITHMETIC | unimplemented
40169 | MaxRmpRte |  | unimplemented | RW
40170 | ECPNomHz |  | unimplemented | RW
40171 | ConnPh |  | unimplemented | RW
|  | A | unimplemented
|  | B | unimplemented
|  | C | unimplemented
40172 | WMax_SF |  | supported | R
40173 | VRef_SF |  | supported | R
40174 | VRefOfs_SF |  | supported | R
40175 | VMinMax_SF |  | supported | R
40176 | VAMax_SF |  | unimplemented | R
40177 | VArMax_SF |  | unimplemented | R
40178 | WGra_SF |  | supported | R
40179 | PFMin_SF |  | unimplemented | R
40180 | MaxRmpRte_SF |  | unimplemented | R
40181 | ECPNomHz_SF |  | unimplemented | R

## 122
Address | Point | Subvalue | Value | R/W | Min | Max | Conformance Notes
40182 | ID |  | 122 | R
40183 | L |  | 44 | R
40184 | PVConn |  | supported | R
|  | CONNECTED | supported
|  | AVAILABLE | supported
|  | OPERATING | supported
|  | TEST | supported
40185 | StorConn |  | supported | R
|  | CONNECTED | supported
|  | AVAILABLE | supported
|  | OPERATING | supported
|  | TEST | supported
40186 | ECPConn |  | supported | R
|  | CONNECTED | supported
40187 | ActWh |  | unimplemented | R
40191 | ActVAh |  | unimplemented | R
40195 | ActVArhQ1 |  | unimplemented | R
40199 | ActVArhQ2 |  | unimplemented | R
40203 | ActVArhQ3 |  | unimplemented | R
40207 | ActVArhQ4 |  | unimplemented | R
40211 | VArAval |  | unimplemented | R
40212 | VArAval_SF |  | unimplemented | R
40213 | WAval |  | unimplemented | R
40214 | WAval_SF |  | unimplemented | R
40215 | StSetLimMsk |  | unimplemented | R
|  | WMax | unimplemented
|  | VAMax | unimplemented
|  | VArAval | unimplemented
|  | VArMaxQ1 | unimplemented
|  | VArMaxQ2 | unimplemented
|  | VArMaxQ3 | unimplemented
|  | VArMaxQ4 | unimplemented
|  | PFMinQ1 | unimplemented
|  | PFMinQ2 | unimplemented
|  | PFMinQ3 | unimplemented
|  | PFMinQ4 | unimplemented
40217 | StActCtl |  | unimplemented | R
|  | FixedW | unimplemented
|  | FixedVAR | unimplemented
|  | FixedPF | unimplemented
|  | Volt-VAr | unimplemented
|  | Freq-Watt-Param | unimplemented
|  | Freq-Watt-Curve | unimplemented
|  | Dyn-Reactive-Current | unimplemented
|  | LVRT | unimplemented
|  | HVRT | unimplemented
|  | Watt-PF | unimplemented
|  | Volt-Watt | unimplemented
|  | Scheduled | unimplemented
|  | LFRT | unimplemented
|  | HFRT | unimplemented
40219 | TmSrc |  | unimplemented | R
40223 | Tms |  | unimplemented | R
40225 | RtSt |  | unimplemented | R
|  | LVRT_ACTIVE | unimplemented
|  | HVRT_ACTIVE | unimplemented
|  | LFRT_ACTIVE | unimplemented
|  | HFRT_ACTIVE | unimplemented
40226 | Ris |  | supported | R
40227 | Ris_SF |  | supported | R

## 123
Address | Point | Subvalue | Value | R/W | Min | Max | Conformance Notes
40228 | ID |  | 123 | R
40229 | L |  | 24 | R
40230 | Conn_WinTms |  | unimplemented | RW
40231 | Conn_RvrtTms |  | unimplemented | RW
40232 | Conn |  | supported | RW
|  | DISCONNECT | supported
|  | CONNECT | supported
40233 | WMaxLimPct |  | supported | RW
40234 | WMaxLimPct_WinTms |  | unimplemented | RW
40235 | WMaxLimPct_RvrtTms |  | unimplemented | RW
40236 | WMaxLimPct_RmpTms |  | unimplemented | RW
40237 | WMaxLim_Ena |  | supported | RW
|  | DISABLED | supported
|  | ENABLED | supported
40238 | OutPFSet |  | supported | RW
40239 | OutPFSet_WinTms |  | unimplemented | RW
40240 | OutPFSet_RvrtTms |  | unimplemented | RW
40241 | OutPFSet_RmpTms |  | unimplemented | RW
40242 | OutPFSet_Ena |  | supported | RW
|  | DISABLED | supported
|  | ENABLED | supported
40243 | VArWMaxPct |  | unimplemented | RW
40244 | VArMaxPct |  | unimplemented | RW
40245 | VArAvalPct |  | unimplemented | RW
40246 | VArPct_WinTms |  | unimplemented | RW
40247 | VArPct_RvrtTms |  | unimplemented | RW
40248 | VArPct_RmpTms |  | unimplemented | RW
40249 | VArPct_Mod |  | unimplemented | RW
|  | NONE | unimplemented
|  | WMax | unimplemented
|  | VArMax | unimplemented
|  | VArAval | unimplemented
40250 | VArPct_Ena |  | supported | RW
|  | DISABLED | supported
|  | ENABLED | supported
40251 | WMaxLimPct_SF |  | supported | R
40252 | OutPFSet_SF |  | supported | R
40253 | VArPct_SF |  | unimplemented | R

## 124
Address | Point | Subvalue | Value | R/W | Min | Max | Conformance Notes
40254 | ID |  | 124 | R
40255 | L |  | 24 | R
40256 | WChaMax |  | supported | RW
40257 | WChaGra |  | supported | RW
40258 | WDisChaGra |  | supported | RW
40259 | StorCtl_Mod |  | supported | RW
|  | CHARGE | supported
|  | DiSCHARGE | supported
40260 | VAChaMax |  | unimplemented | RW
40261 | MinRsvPct |  | unimplemented | RW
40262 | ChaState |  | unimplemented | R
40263 | StorAval |  | unimplemented | R
40264 | InBatV |  | unimplemented | R
40265 | ChaSt |  | unimplemented | R
|  | OFF | unimplemented
|  | EMPTY | unimplemented
|  | DISCHARGING | unimplemented
|  | CHARGING | unimplemented
|  | FULL | unimplemented
|  | HOLDING | unimplemented
|  | TESTING | unimplemented
40266 | OutWRte |  | unimplemented | RW
40267 | InWRte |  | unimplemented | RW
40268 | InOutWRte_WinTms |  | unimplemented | RW
40269 | InOutWRte_RvrtTms |  | unimplemented | RW
40270 | InOutWRte_RmpTms |  | unimplemented | RW
40271 | ChaGriSet |  | unimplemented | RW
|  | PV | unimplemented
|  | GRID | unimplemented
40272 | WChaMax_SF |  | supported | R
40273 | WChaDisChaGra_SF |  | supported | R
40274 | VAChaMax_SF |  | unimplemented | R
40275 | MinRsvPct_SF |  | unimplemented | R
40276 | ChaState_SF |  | unimplemented | R
40277 | StorAval_SF |  | unimplemented | R
40278 | InBatV_SF |  | unimplemented | R
40279 | InOutWRte_SF |  | unimplemented | R

## 126
Address | Point | Subvalue | Value | R/W | Min | Max | Conformance Notes
40280 | ID |  | 126 | R
40281 | L |  | 64 | R
40282 | ActCrv |  | supported | RW
40283 | ModEna |  | supported | RW
|  | ENABLED | supported
40284 | WinTms |  | unimplemented | RW
40285 | RvrtTms |  | unimplemented | RW
40286 | RmpTms |  | unimplemented | RW
40287 | NCrv |  | supported | R
40288 | NPt |  | supported | R
40289 | V_SF |  | supported | R
40290 | DeptRef_SF |  | supported | R
40291 | RmpIncDec_SF |  | unimplemented | R
40292 | curve.1.ActPt |  | supported | RW
40293 | curve.1.DeptRef |  | supported | RW
|  | WMax | supported
|  | VArMax | supported
|  | VArAval | supported
40294 | curve.1.V1 |  | supported | RW
40295 | curve.1.VAr1 |  | supported | RW
40296 | curve.1.V2 |  | supported | RW
40297 | curve.1.VAr2 |  | supported | RW
40298 | curve.1.V3 |  | supported | RW
40299 | curve.1.VAr3 |  | supported | RW
40300 | curve.1.V4 |  | supported | RW
40301 | curve.1.VAr4 |  | supported | RW
40302 | curve.1.V5 |  | unimplemented | RW
40303 | curve.1.VAr5 |  | unimplemented | RW
40304 | curve.1.V6 |  | unimplemented | RW
40305 | curve.1.VAr6 |  | unimplemented | RW
40306 | curve.1.V7 |  | unimplemented | RW
40307 | curve.1.VAr7 |  | unimplemented | RW
40308 | curve.1.V8 |  | unimplemented | RW
40309 | curve.1.VAr8 |  | unimplemented | RW
40310 | curve.1.V9 |  | unimplemented | RW
40311 | curve.1.VAr9 |  | unimplemented | RW
40312 | curve.1.V10 |  | unimplemented | RW
40313 | curve.1.VAr10 |  | unimplemented | RW
40314 | curve.1.V11 |  | unimplemented | RW
40315 | curve.1.VAr11 |  | unimplemented | RW
40316 | curve.1.V12 |  | unimplemented | RW
40317 | curve.1.VAr12 |  | unimplemented | RW
40318 | curve.1.V13 |  | unimplemented | RW
40319 | curve.1.VAr13 |  | unimplemented | RW
40320 | curve.1.V14 |  | unimplemented | RW
40321 | curve.1.VAr14 |  | unimplemented | RW
40322 | curve.1.V15 |  | unimplemented | RW
40323 | curve.1.VAr15 |  | unimplemented | RW
40324 | curve.1.V16 |  | unimplemented | RW
40325 | curve.1.VAr16 |  | unimplemented | RW
40326 | curve.1.V17 |  | unimplemented | RW
40327 | curve.1.VAr17 |  | unimplemented | RW
40328 | curve.1.V18 |  | unimplemented | RW
40329 | curve.1.VAr18 |  | unimplemented | RW
40330 | curve.1.V19 |  | unimplemented | RW
40331 | curve.1.VAr19 |  | unimplemented | RW
40332 | curve.1.V20 |  | unimplemented | RW
40333 | curve.1.VAr20 |  | unimplemented | RW
40334 | curve.1.CrvNam |  | unimplemented | RW
40342 | curve.1.RmpTms |  | unimplemented | RW
40343 | curve.1.RmpDecTmm |  | unimplemented | RW
40344 | curve.1.RmpIncTmm |  | unimplemented | RW
40345 | curve.1.ReadOnly |  | supported | R
|  | READWRITE | supported
|  | READONLY | supported

## 127
Address | Point | Subvalue | Value | R/W | Min | Max | Conformance Notes
40346 | ID |  | 127 | R
40347 | L |  | 10 | R
40348 | WGra |  | supported | RW
40349 | HzStr |  | supported | RW
40350 | HzStop |  | supported | RW
40351 | HysEna |  | supported | RW
|  | ENABLED | supported
40352 | ModEna |  | supported | RW
|  | ENABLED | supported
40353 | HzStopWGra |  | supported | RW
40354 | WGra_SF |  | supported | R
40355 | HzStrStop_SF |  | supported | R
40356 | RmpIncDec_SF |  | supported | R
40357 | Pad |  | supported | R

## 128
Address | Point | Subvalue | Value | R/W | Min | Max | Conformance Notes
40358 | ID |  | 128 | R
40359 | L |  | 14 | R
40360 | ArGraMod |  | supported | RW
|  | EDGE | supported
|  | CENTER | supported
40361 | ArGraSag |  | supported | RW
40362 | ArGraSwell |  | supported | RW
40363 | ModEna |  | supported | RW
|  | ENABLED | supported
40364 | FilTms |  | unimplemented | RW
40365 | DbVMin |  | unimplemented | RW
40366 | DbVMax |  | unimplemented | RW
40367 | BlkZnV |  | unimplemented | RW
40368 | HysBlkZnV |  | unimplemented | RW
40369 | BlkZnTmms |  | unimplemented | RW
40370 | HoldTmms |  | unimplemented | RW
40371 | ArGra_SF |  | supported | R
40372 | VRefPct_SF |  | unimplemented | R
40373 | Pad |  | supported | R

## 129
Address | Point | Subvalue | Value | R/W | Min | Max | Conformance Notes
40374 | ID |  | 129 | R
40375 | L |  | 60 | R
40376 | ActCrv |  | supported | RW
40377 | ModEna |  | supported | RW
|  | ENABLED | supported
40378 | WinTms |  | unimplemented | RW
40379 | RvrtTms |  | unimplemented | RW
40380 | RmpTms |  | unimplemented | RW
40381 | NCrv |  | supported | R
40382 | NPt |  | supported | R
40383 | Tms_SF |  | supported | R
40384 | V_SF |  | supported | R
40385 | Pad |  | supported | R
40386 | curve.1.ActPt |  | supported | RW
40387 | curve.1.Tms1 |  | supported | RW
40388 | curve.1.V1 |  | supported | RW
40389 | curve.1.Tms2 |  | supported | RW
40390 | curve.1.V2 |  | supported | RW
40391 | curve.1.Tms3 |  | unimplemented | RW
40392 | curve.1.V3 |  | unimplemented | RW
40393 | curve.1.Tms4 |  | unimplemented | RW
40394 | curve.1.V4 |  | unimplemented | RW
40395 | curve.1.Tms5 |  | unimplemented | RW
40396 | curve.1.V5 |  | unimplemented | RW
40397 | curve.1.Tms6 |  | unimplemented | RW
40398 | curve.1.V6 |  | unimplemented | RW
40399 | curve.1.Tms7 |  | unimplemented | RW
40400 | curve.1.V7 |  | unimplemented | RW
40401 | curve.1.Tms8 |  | unimplemented | RW
40402 | curve.1.V8 |  | unimplemented | RW
40403 | curve.1.Tms9 |  | unimplemented | RW
40404 | curve.1.V9 |  | unimplemented | RW
40405 | curve.1.Tms10 |  | unimplemented | RW
40406 | curve.1.V10 |  | unimplemented | RW
40407 | curve.1.Tms11 |  | unimplemented | RW
40408 | curve.1.V11 |  | unimplemented | RW
40409 | curve.1.Tms12 |  | unimplemented | RW
40410 | curve.1.V12 |  | unimplemented | RW
40411 | curve.1.Tms13 |  | unimplemented | RW
40412 | curve.1.V13 |  | unimplemented | RW
40413 | curve.1.Tms14 |  | unimplemented | RW
40414 | curve.1.V14 |  | unimplemented | RW
40415 | curve.1.Tms15 |  | unimplemented | RW
40416 | curve.1.V15 |  | unimplemented | RW
40417 | curve.1.Tms16 |  | unimplemented | RW
40418 | curve.1.V16 |  | unimplemented | RW
40419 | curve.1.Tms17 |  | unimplemented | RW
40420 | curve.1.V17 |  | unimplemented | RW
40421 | curve.1.Tms18 |  | unimplemented | RW
40422 | curve.1.V18 |  | unimplemented | RW
40423 | curve.1.Tms19 |  | unimplemented | RW
40424 | curve.1.V19 |  | unimplemented | RW
40425 | curve.1.Tms20 |  | unimplemented | RW
40426 | curve.1.V20 |  | unimplemented | RW
40427 | curve.1.CrvNam |  | unimplemented | RW
40435 | curve.1.ReadOnly |  | supported | R
|  | READWRITE | supported
|  | READONLY | supported

## 130
Address | Point | Subvalue | Value | R/W | Min | Max | Conformance Notes
40436 | ID |  | 130 | R
40437 | L |  | 60 | R
40438 | ActCrv |  | supported | RW
40439 | ModEna |  | supported | RW
|  | ENABLED | supported
40440 | WinTms |  | unimplemented | RW
40441 | RvrtTms |  | unimplemented | RW
40442 | RmpTms |  | unimplemented | RW
40443 | NCrv |  | supported | R
40444 | NPt |  | supported | R
40445 | Tms_SF |  | supported | R
40446 | V_SF |  | supported | R
40447 | Pad |  | supported | R
40448 | curve.1.ActPt |  | supported | RW
40449 | curve.1.Tms1 |  | supported | RW
40450 | curve.1.V1 |  | supported | RW
40451 | curve.1.Tms2 |  | supported | RW
40452 | curve.1.V2 |  | supported | RW
40453 | curve.1.Tms3 |  | unimplemented | RW
40454 | curve.1.V3 |  | unimplemented | RW
40455 | curve.1.Tms4 |  | unimplemented | RW
40456 | curve.1.V4 |  | unimplemented | RW
40457 | curve.1.Tms5 |  | unimplemented | RW
40458 | curve.1.V5 |  | unimplemented | RW
40459 | curve.1.Tms6 |  | unimplemented | RW
40460 | curve.1.V6 |  | unimplemented | RW
40461 | curve.1.Tms7 |  | unimplemented | RW
40462 | curve.1.V7 |  | unimplemented | RW
40463 | curve.1.Tms8 |  | unimplemented | RW
40464 | curve.1.V8 |  | unimplemented | RW
40465 | curve.1.Tms9 |  | unimplemented | RW
40466 | curve.1.V9 |  | unimplemented | RW
40467 | curve.1.Tms10 |  | unimplemented | RW
40468 | curve.1.V10 |  | unimplemented | RW
40469 | curve.1.Tms11 |  | unimplemented | RW
40470 | curve.1.V11 |  | unimplemented | RW
40471 | curve.1.Tms12 |  | unimplemented | RW
40472 | curve.1.V12 |  | unimplemented | RW
40473 | curve.1.Tms13 |  | unimplemented | RW
40474 | curve.1.V13 |  | unimplemented | RW
40475 | curve.1.Tms14 |  | unimplemented | RW
40476 | curve.1.V14 |  | unimplemented | RW
40477 | curve.1.Tms15 |  | unimplemented | RW
40478 | curve.1.V15 |  | unimplemented | RW
40479 | curve.1.Tms16 |  | unimplemented | RW
40480 | curve.1.V16 |  | unimplemented | RW
40481 | curve.1.Tms17 |  | unimplemented | RW
40482 | curve.1.V17 |  | unimplemented | RW
40483 | curve.1.Tms18 |  | unimplemented | RW
40484 | curve.1.V18 |  | unimplemented | RW
40485 | curve.1.Tms19 |  | unimplemented | RW
40486 | curve.1.V19 |  | unimplemented | RW
40487 | curve.1.Tms20 |  | unimplemented | RW
40488 | curve.1.V20 |  | unimplemented | RW
40489 | curve.1.CrvNam |  | unimplemented | RW
40497 | curve.1.ReadOnly |  | supported | R
|  | READWRITE | supported
|  | READONLY | supported

## 131
Address | Point | Subvalue | Value | R/W | Min | Max | Conformance Notes
40498 | ID |  | 131 | R
40499 | L |  | 64 | R
40500 | ActCrv |  | supported | RW
40501 | ModEna |  | supported | RW
|  | ENABLED | supported
40502 | WinTms |  | unimplemented | RW
40503 | RvrtTms |  | unimplemented | RW
40504 | RmpTms |  | unimplemented | RW
40505 | NCrv |  | supported | R
40506 | NPt |  | supported | R
40507 | W_SF |  | supported | R
40508 | PF_SF |  | supported | R
40509 | RmpIncDec_SF |  | unimplemented | R
40510 | curve.1.ActPt |  | supported | RW
40511 | curve.1.W1 |  | supported | RW
40512 | curve.1.PF1 |  | supported | RW
40513 | curve.1.W2 |  | supported | RW
40514 | curve.1.PF2 |  | supported | RW
40515 | curve.1.W3 |  | supported | RW
40516 | curve.1.PF3 |  | supported | RW
40517 | curve.1.W4 |  | unimplemented | RW
40518 | curve.1.PF4 |  | unimplemented | RW
40519 | curve.1.W5 |  | unimplemented | RW
40520 | curve.1.PF5 |  | unimplemented | RW
40521 | curve.1.W6 |  | unimplemented | RW
40522 | curve.1.PF6 |  | unimplemented | RW
40523 | curve.1.W7 |  | unimplemented | RW
40524 | curve.1.PF7 |  | unimplemented | RW
40525 | curve.1.W8 |  | unimplemented | RW
40526 | curve.1.PF8 |  | unimplemented | RW
40527 | curve.1.W9 |  | unimplemented | RW
40528 | curve.1.PF9 |  | unimplemented | RW
40529 | curve.1.W10 |  | unimplemented | RW
40530 | curve.1.PF10 |  | unimplemented | RW
40531 | curve.1.W11 |  | unimplemented | RW
40532 | curve.1.PF11 |  | unimplemented | RW
40533 | curve.1.W12 |  | unimplemented | RW
40534 | curve.1.PF12 |  | unimplemented | RW
40535 | curve.1.W13 |  | unimplemented | RW
40536 | curve.1.PF13 |  | unimplemented | RW
40537 | curve.1.W14 |  | unimplemented | RW
40538 | curve.1.PF14 |  | unimplemented | RW
40539 | curve.1.W15 |  | unimplemented | RW
40540 | curve.1.PF15 |  | unimplemented | RW
40541 | curve.1.W16 |  | unimplemented | RW
40542 | curve.1.PF16 |  | unimplemented | RW
40543 | curve.1.W17 |  | unimplemented | RW
40544 | curve.1.PF17 |  | unimplemented | RW
40545 | curve.1.W18 |  | unimplemented | RW
40546 | curve.1.PF18 |  | unimplemented | RW
40547 | curve.1.W19 |  | unimplemented | RW
40548 | curve.1.PF19 |  | unimplemented | RW
40549 | curve.1.W20 |  | unimplemented | RW
40550 | curve.1.PF20 |  | unimplemented | RW
40551 | curve.1.CrvNam |  | unimplemented | RW
40559 | curve.1.RmpPT1Tms |  | unimplemented | RW
40560 | curve.1.RmpDecTmm |  | unimplemented | RW
40561 | curve.1.RmpIncTmm |  | unimplemented | RW
40562 | curve.1.ReadOnly |  | supported | R
|  | READWRITE | supported
|  | READONLY | supported
40563 | curve.1.Pad |  | supported | R

## 132
Address | Point | Subvalue | Value | R/W | Min | Max | Conformance Notes
40564 | ID |  | 132 | R
40565 | L |  | 64 | R
40566 | ActCrv |  | supported | RW
40567 | ModEna |  | supported | RW
|  | ENABLED | supported
40568 | WinTms |  | unimplemented | RW
40569 | RvrtTms |  | unimplemented | RW
40570 | RmpTms |  | unimplemented | RW
40571 | NCrv |  | supported | R
40572 | NPt |  | supported | R
40573 | V_SF |  | supported | R
40574 | DeptRef_SF |  | supported | R
40575 | RmpIncDec_SF |  | unimplemented | R
40576 | curve.1.ActPt |  | supported | RW
40577 | curve.1.DeptRef |  | supported | RW
|  | %WMax | supported
|  | %WAval | supported
40578 | curve.1.V1 |  | supported | RW
40579 | curve.1.W1 |  | supported | RW
40580 | curve.1.V2 |  | supported | RW
40581 | curve.1.W2 |  | supported | RW
40582 | curve.1.V3 |  | supported | RW
40583 | curve.1.W3 |  | supported | RW
40584 | curve.1.V4 |  | supported | RW
40585 | curve.1.W4 |  | supported | RW
40586 | curve.1.V5 |  | unimplemented | RW
40587 | curve.1.W5 |  | unimplemented | RW
40588 | curve.1.V6 |  | unimplemented | RW
40589 | curve.1.W6 |  | unimplemented | RW
40590 | curve.1.V7 |  | unimplemented | RW
40591 | curve.1.W7 |  | unimplemented | RW
40592 | curve.1.V8 |  | unimplemented | RW
40593 | curve.1.W8 |  | unimplemented | RW
40594 | curve.1.V9 |  | unimplemented | RW
40595 | curve.1.W9 |  | unimplemented | RW
40596 | curve.1.V10 |  | unimplemented | RW
40597 | curve.1.W10 |  | unimplemented | RW
40598 | curve.1.V11 |  | unimplemented | RW
40599 | curve.1.W11 |  | unimplemented | RW
40600 | curve.1.V12 |  | unimplemented | RW
40601 | curve.1.W12 |  | unimplemented | RW
40602 | curve.1.V13 |  | unimplemented | RW
40603 | curve.1.W13 |  | unimplemented | RW
40604 | curve.1.V14 |  | unimplemented | RW
40605 | curve.1.W14 |  | unimplemented | RW
40606 | curve.1.V15 |  | unimplemented | RW
40607 | curve.1.W15 |  | unimplemented | RW
40608 | curve.1.V16 |  | unimplemented | RW
40609 | curve.1.W16 |  | unimplemented | RW
40610 | curve.1.V17 |  | unimplemented | RW
40611 | curve.1.W17 |  | unimplemented | RW
40612 | curve.1.V18 |  | unimplemented | RW
40613 | curve.1.W18 |  | unimplemented | RW
40614 | curve.1.V19 |  | unimplemented | RW
40615 | curve.1.W19 |  | unimplemented | RW
40616 | curve.1.V20 |  | unimplemented | RW
40617 | curve.1.W20 |  | unimplemented | RW
40618 | curve.1.CrvNam |  | unimplemented | RW
40626 | curve.1.RmpPt1Tms |  | unimplemented | RW
40627 | curve.1.RmpDecTmm |  | unimplemented | RW
40628 | curve.1.RmpIncTmm |  | unimplemented | RW
40629 | curve.1.ReadOnly |  | supported | R
|  | READWRITE | supported
|  | READONLY | supported

## 160
Address | Point | Subvalue | Value | R/W | Min | Max | Conformance Notes
40630 | ID |  | 160 | R
40631 | L |  | 48 | R
40632 | DCA_SF |  | supported | R
40633 | DCV_SF |  | supported | R
40634 | DCW_SF |  | supported | R
40635 | DCWH_SF |  | unimplemented | R
40636 | Evt |  | unimplemented | R
|  | GROUND_FAULT | unimplemented
|  | INPUT_OVER_VOLTAGE | unimplemented
|  | RESERVED_2 | unimplemented
|  | DC_DISCONNECT | unimplemented
|  | RESERVED_4 | unimplemented
|  | CABINET_OPEN | unimplemented
|  | MANUAL_SHUTDOWN | unimplemented
|  | OVER_TEMP | unimplemented
|  | RESERVED_8 | unimplemented
|  | RESERVED_9 | unimplemented
|  | RESERVED_10 | unimplemented
|  | RESERVED_11 | unimplemented
|  | BLOWN_FUSE | unimplemented
|  | UNDER_TEMP | unimplemented
|  | MEMORY_LOSS | unimplemented
|  | ARC_DETECTION | unimplemented
|  | RESERVED_16 | unimplemented
|  | RESERVED_17 | unimplemented
|  | RESERVED_18 | unimplemented
|  | RESERVED_19 | unimplemented
|  | TEST_FAILED | unimplemented
|  | INPUT_UNDER_VOLTAGE | unimplemented
|  | INPUT_OVER_CURRENT | unimplemented
40638 | N |  | supported | R
40639 | TmsPer |  | unimplemented | R
40640 | module.1.ID |  | supported | R
40641 | module.1.IDStr |  | unimplemented | R
40649 | module.1.DCA |  | supported | R
40650 | module.1.DCV |  | supported | R
40651 | module.1.DCW |  | supported | R
40652 | module.1.DCWH |  | unimplemented | R
40654 | module.1.Tms |  | unimplemented | R
40656 | module.1.Tmp |  | unimplemented | R
40657 | module.1.DCSt |  | unimplemented | R
|  | OFF | unimplemented
|  | SLEEPING | unimplemented
|  | STARTING | unimplemented
|  | MPPT | unimplemented
|  | THROTTLED | unimplemented
|  | SHUTTING_DOWN | unimplemented
|  | FAULT | unimplemented
|  | STANDBY | unimplemented
|  | TEST | unimplemented
|  | RESERVED_10 | unimplemented
40658 | module.1.DCEvt |  | unimplemented | R
|  | GROUND_FAULT | unimplemented
|  | INPUT_OVER_VOLTAGE | unimplemented
|  | RESERVED_2 | unimplemented
|  | DC_DISCONNECT | unimplemented
|  | RESERVED_4 | unimplemented
|  | CABINET_OPEN | unimplemented
|  | MANUAL_SHUTDOWN | unimplemented
|  | OVER_TEMP | unimplemented
|  | RESERVED_8 | unimplemented
|  | RESERVED_9 | unimplemented
|  | RESERVED_10 | unimplemented
|  | RESERVED_11 | unimplemented
|  | BLOWN_FUSE | unimplemented
|  | UNDER_TEMP | unimplemented
|  | MEMORY_LOSS | unimplemented
|  | ARC_DETECTION | unimplemented
|  | RESERVED_16 | unimplemented
|  | RESERVED_17 | unimplemented
|  | RESERVED_18 | unimplemented
|  | RESERVED_19 | unimplemented
|  | TEST_FAILED | unimplemented
|  | INPUT_UNDER_VOLTAGE | unimplemented
|  | INPUT_OVER_CURRENT | unimplemented
40660 | module.2.ID |  | supported | R
40661 | module.2.IDStr |  | unimplemented | R
40669 | module.2.DCA |  | supported | R
40670 | module.2.DCV |  | supported | R
40671 | module.2.DCW |  | supported | R
40672 | module.2.DCWH |  | unimplemented | R
40674 | module.2.Tms |  | unimplemented | R
40676 | module.2.Tmp |  | unimplemented | R
40677 | module.2.DCSt |  | unimplemented | R
|  | OFF | unimplemented
|  | SLEEPING | unimplemented
|  | STARTING | unimplemented
|  | MPPT | unimplemented
|  | THROTTLED | unimplemented
|  | SHUTTING_DOWN | unimplemented
|  | FAULT | unimplemented
|  | STANDBY | unimplemented
|  | TEST | unimplemented
|  | RESERVED_10 | unimplemented
40678 | module.2.DCEvt |  | unimplemented | R
|  | GROUND_FAULT | unimplemented
|  | INPUT_OVER_VOLTAGE | unimplemented
|  | RESERVED_2 | unimplemented
|  | DC_DISCONNECT | unimplemented
|  | RESERVED_4 | unimplemented
|  | CABINET_OPEN | unimplemented
|  | MANUAL_SHUTDOWN | unimplemented
|  | OVER_TEMP | unimplemented
|  | RESERVED_8 | unimplemented
|  | RESERVED_9 | unimplemented
|  | RESERVED_10 | unimplemented
|  | RESERVED_11 | unimplemented
|  | BLOWN_FUSE | unimplemented
|  | UNDER_TEMP | unimplemented
|  | MEMORY_LOSS | unimplemented
|  | ARC_DETECTION | unimplemented
|  | RESERVED_16 | unimplemented
|  | RESERVED_17 | unimplemented
|  | RESERVED_18 | unimplemented
|  | RESERVED_19 | unimplemented
|  | TEST_FAILED | unimplemented
|  | INPUT_UNDER_VOLTAGE | unimplemented
|  | INPUT_OVER_CURRENT | unimplemented