## Instructions
SunSpec Protocol Information Conformance Statement (PICS) and Test Results Template
Version 1.3
2019-11-01
Instructions
For each product to be submitted to SunSpec for certification:
1. Complete the PICS tab(s) for the certification type.
2. Input test result in the TEST RESULTS tab for the certification type. For SunSpec RSD certification, be sure to complete both the "SunSpec RSD Test Results" and "SunSpec RSD Test Results Detail" tabs.
3. Save the spread sheet and give it a name in the following format: CertificationType_CustomerName_TestLabName_date.xls
Examples:
SunSpecRSD_AcmeInc_AlphaTestLab_04202019.XLS
IEEE2030dot5CSIP_CommCorpo_FirstTestLab_10312019.XLS
4. Email the spreadsheet to certification@sunspec.org
License Agreement and Copyright Notice
This document and the information contained herein is provided on an "AS IS" basis and the SunSpec Alliance DISCLAIMS ALL WARRANTIES, EXPRESS OR IMPLIED, INCLUDING BUT NOT LIMITED TO ANY WARRANTY THAT THE USE OF THE INFORMATION HEREIN WILL NOT INFRINGE ANY OWNERSHIP RIGHTS OR ANY IMPLIED WARRANTIES OF MERCHANTABILITY OR FITNESS FOR A PARTICULAR PURPOSE.
This document may be used, copied, and furnished to others, without restrictions of any kind, provided that this document itself may not be modified in anyway, except as needed by the SunSpec Technical Committee and as governed by the SunSpec IPR Policy. The complete policy of the SunSpec Alliance can be found at https://sunspec.org.

## IEEE 2030.5 CSIP PICS
SunSpec IEEE 2030.5/CSIP PICS Template
Version 1.3
2019-11-01
Information Provided By The Customer
Company Name | Shenzhen Sinexcel Electric Co., Ltd. | ACME Inc | Enter the official name of the company that the SunSpec Certificate is issued to.
Company Address | Building 6, BaiWangXin High-tech Industrial Park,NanShan District, | 569 Regents Park Avenue | Enter the official street Address of the company that the SunSpec Certificate is issued to.
Company City | Shenzhen | Boston | Enter he City associated with the official address of the Company.
Company State/Province | Guang dong | MA | Enter the State or Province associated with the official address of the Company. If not applicable, enter "Not Applicable."
Company Country | China | United States | Enter the Country associated with the official address of the Company.
Company Postal Code | 518108 | 12345 | Enter the Postal Code associated with the official address of the Company.
SunSpec Certificate Type | IEEE 2030.5/CSIP | IEEE 2030.5/CSIP | Select SunSpec Certificate Type requested.
SunSpec Device Category | Client | Client | Select the category of device to be evaluated.
Test Laboratory | Intertek China | ABC Test Lab | Select the SunSpec Authorized Test Laboratory that will perform the test.
Software Operating Environment Type | Physical device | Cloud | Select the operating environment type in which the certified Software runs.
Software Name <n> | IEEE2030 | ABC2030client.exe | Enter the file name of the certified Software including file type suffix. Multiple fields of this type may be present. Individual fields are distinguished by adding a number at the end of the key label.
Software Version <n> | 1 | 11.01 | Enter the version number of the certified software. Multiple fields of this type may be present. Individual fields are distinguished by adding a number at the end of the key label.
Software Checksum <n> | A15E1703 | 423EC0E4 | Enter the Checksum of the SunSpec Certified software. Multiple fields of this type may be present. Individual fields are distinguished by adding a number at the end of the key label.
Operating System <n> | Buildroot | Ubuntu | Enter the name of the Operating System in which the certified Software runs.
Operating System Version <n> | 2015.08.1 | 18.04 | Enter the Major version number plus first digit of minor version number of the Operating System in which the certified Software operates, expressed as "X.X". Multiple fields of this type may be present. Individual fields are distinguished by adding a number at the end of the key label.
Cloud Platform Provider | Not Applicable | Cloud Company | Enter the name of cloud platform provider that hosts the certified Software. If not applicable, enter "Not Applicable."
Cloud Platform Name | Not Applicable | Hosting Plaform for DER | Enter the name of the cloud platform product that the operates the certified Software. If not applicable, enter "Not Applicable."
Cloud Platform Version | Not Applicable | 1.2 | Enter the version of cloud platform that operates the certified Software. If not applicable, enter "Not Applicable."
Product Name <n> | Gateway | Acme Powermaster | Enter the name of the Product that incorporates the SunSpec Certified Software or Component. Multiple fields of this type may be present. Individual fields are distinguished by adding a number at the end of the key label.
Product Model <n> | PMS-U2-P | DX120 | Enter the model of the Product that incorporates the SunSpec Certified Software or Component. Multiple fields of this type may be present. Individual fields are distinguished by adding a number at the end of the key label.
Product Object ID <n> | 1.3.6.1.4.1.46142.13.1 |  | A unique number that is used to identify Product Name/Product Model combinations. Used to to populate the field "HwType OID" in a digital certificate as specified in the IEEE 2030.5-2018 standard.
Product Name <n> |  | Acme Powermaster | Enter the name of the Product that incorporates the SunSpec Certified Software or Component. Multiple fields of this type may be present. Individual fields are distinguished by adding a number at the end of the key label.
Product Model <n> |  | SX1000 | Enter the model of the Product that incorporates the SunSpec Certified Software or Component. Multiple fields of this type may be present. Individual fields are distinguished by adding a number at the end of the key label.
Product Object ID <n> |  |  | A unique number that is used to identify Product Name/Product Model combinations. Used to to populate the field "HwType OID" in a digital certificate as specified in the IEEE 2030.5-2018 standard.
Reserved For SunSpec Alliance
SunSpec Certificate Number | CS-000114
Certificate Signer Name | Erin Mahan
Certificate Issued Date | 2026-09-10
Certificate Archive Location
Reserved For SunSpec Alliance
SunSpec Certificate Number | CS-000114
Certificate Signer Name | Erin Mahan
Certificate Issued Date | 2026-09-15
Certificate Archive Location | https://sunspec.org/wp-content/uploads/2009/03/Sinexcel_CSIP-2030.5_Certificate_CS000114_FINAL.pdf

## IEEE 2030.5 CSIP Test Results
SunSpec IEEE 2030.5/CSIP Test Results
Information Provided By SunSpec Authorized Test Laboratory
Instructions
Customer Name | Shenzhen Sinexcel Electric Co., Ltd. |  | Automatically populated by IEEE 2030.5/CSIP PICS template.
Test Completion Date | 2026-07-28 |  | Enter the date when the test was performed by the Test Lab.
Supervising Test Engineer | Mira Xiao |  | The name of the engineer who supervised the test process.
Test Comments | Pass |  | Comments pertaining to the certification test.
Test Name | Test Description | Result | Instructions
AGG-001 | Aggregator Operation Subscription [A, S] | NOT APPLICABLE | Select Test Result By Picking From Options In Drop Down Menu.
AGG-002 | Aggregator Event - 2 DERP, 2 DDERC, 0 DERC [A, S] | NOT APPLICABLE | Select Test Result By Picking From Options In Drop Down Menu.
AGG-003 | Aggregator Event - 1 DERP, 0 DDERC, 1 DERC [A, S] | NOT APPLICABLE | Select Test Result By Picking From Options In Drop Down Menu.
AGG-004 | Aggregator Event - 1 DERP, 1 DDERC, 1 DERC [A, S] | NOT APPLICABLE | Select Test Result By Picking From Options In Drop Down Menu.
AGG-005 | Aggregator Event - 1 DERP, 1 DDERC, 2 Non-overlapping Similar DERC [A, S] | NOT APPLICABLE | Select Test Result By Picking From Options In Drop Down Menu.
AGG-006 | Aggregator Event - 2 DERP, 2 DDERC, 2 Non-overlapping Similar DERC [A, S] | NOT APPLICABLE | Select Test Result By Picking From Options In Drop Down Menu.
AGG-007 | Aggregator Event - 2 DERP, 2 DDERC, 2 Overlapping Similar DERC - System DERC followed by Transformer DERC before Start of System DERC [A, S] | NOT APPLICABLE | Select Test Result By Picking From Options In Drop Down Menu.
AGG-008 | Aggregator Event - 2 DERP, 2 DDERC, 2 Overlapping Similar DERC - Transformer DERC followed by System DERC [A, S] | NOT APPLICABLE | Select Test Result By Picking From Options In Drop Down Menu.
AGG-009 | Aggregator Event - 2 DERP, 2 DDERC, 2 Overlapping Similar DERC - Transformer DERC followed by System DERC after Start of System Event [A, S] | NOT APPLICABLE | Select Test Result By Picking From Options In Drop Down Menu.
AGG-010 | Aggregator Event - 2 DERP, 2 DDERC, 2 Overlapping Independent DERC - System DERC followed by Transformer DERC before Start of System DERC [A, S] | NOT APPLICABLE | Select Test Result By Picking From Options In Drop Down Menu.
AGG-011 | Aggregator Event - 2 DERP, 2 DDERC, 2 Overlapping Independent DERC - Transformer DERC followed by System DERC [A, S] | NOT APPLICABLE | Select Test Result By Picking From Options In Drop Down Menu.
AGG-012 | Aggregator Event - 2 DERP, 2 DDERC, 2 Overlapping Independent DERC - Transformer DERC followed by System DERC after Start of System Event [A, S] | NOT APPLICABLE | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-001 | DER Identification [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-002 | Basic Group Management [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-003 | Advanced Group Management [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-004 | Basic Inverter Control (Low/High Voltage Ride-Through) [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-005 | Basic Inverter Control (Low/High Frequency Ride -Through) [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-006 | Basic Inverter Control (Volt/Var) [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-007 | Basic Inverter Control (Ramp Rates) [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-008 | Basic Inverter Control (Fixed Power Factor) [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-009 | Basic Inverter Control (Connect/Disconnect) [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-010 | Basic Inverter Control (Limit Max Active Power Mode) [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-011 | Basic Inverter Control (Volt-Watt) [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-012 | Basic Inverter Control (Frequency-Watt) [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-013 | Basic Inverter Control (Set Active Power Mode - in % of Max Power) | PASS | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-014 | Basic Inverter Control (Set Active Power Mode – in Watts) | NOT APPLICABLE | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-015 | Advanced Inverter Control [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-016 | Event - 2 DERP, 2 DDERC, 0 DERC [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-017 | Event - 1 DERP, 0 DDERC, 1 DERC [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-018 | Event -1 DERP, 1 DDERC, 1 DERC [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-019 | Event - 1 DERP, 1 DDERC, 2 Non-overlapping Similar DERC [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-020 | Event - 2 DERP, 2 DDERC, 2 Non-overlapping Similar DERC [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-021 | Event - 2 DERP, 2 DDERC, 2 Overlapping Similar DERC - System DERC followed by Service Point DERC before Start of System DERC [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-022 | Event - 2 DERP, 2 DDERC, 2 Overlapping Similar DERC - Service Point DERC followed by System DERC [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-023 | Event - 2 DERP, 2 DDERC, 2 Overlapping Similar DERC - System DERC followed by Service Point DERC after Start of System Event [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-024 | Event - 2 DERP, 2 DDERC, 2 Overlapping Independent DERC - System DERC followed by Service Point DERC before Start of System DERC [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-025 | Event - 2 DERP, 2 DDERC, 2 Overlapping Independent DERC - Service Point DERC followed by System DERC [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-026 | Event - 2 DERP, 2 DDERC, 2 Overlapping Independent DERC - System DERC followed by Service Point DERC after Start of System Event [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-027 | Alarms [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-028 | Inverter Status [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
BASIC-029 | Inverter Meter Reading [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
COMM-001 | Basic Discovery (xmDNS/DNS-SD) | NOT APPLICABLE | Select Test Result By Picking From Options In Drop Down Menu.
COMM-002 | Basic Discovery (Out-of-Band) [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
COMM-003 | Basic Security [C,A,S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
COMM-004 | Advanced Security [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
CORE-001 | HTTP - Request [S] | NOT APPLICABLE | Select Test Result By Picking From Options In Drop Down Menu.
CORE-002 | HTTP Response [S] | NOT APPLICABLE | Select Test Result By Picking From Options In Drop Down Menu.
CORE-003 | Polling Interaction [C, A] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
CORE-004 | List Handling [S] | NOT APPLICABLE | Select Test Result By Picking From Options In Drop Down Menu.
CORE-005 | Basic Time [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
CORE-006 | Advanced Time [S] | NOT APPLICABLE | Select Test Result By Picking From Options In Drop Down Menu.
CORE-009 | Advanced End Device [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
CORE-010 | Function Set Assignments [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
CORE-011 | Advanced Function Set Assignments [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
CORE-012 | Basic DER Program/Control [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
CORE-013 | Advanced DER Program/Control [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
CORE-014 | Basic DER Settings (Power Generating) [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
CORE-018 | Basic Subscription [A, S] | NOT APPLICABLE | Select Test Result By Picking From Options In Drop Down Menu.
CORE-019 | Advanced Subscription [A, S] | NOT APPLICABLE | Select Test Result By Picking From Options In Drop Down Menu.
CORE-021 | Randomized Events [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
CORE-022 | Responses [C, A, S] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
ERR-001 | Error Scenario 1 [C, A] | PASS | Select Test Result By Picking From Options In Drop Down Menu.
ERR-002 | Error Scenario 2 [A] | NOT APPLICABLE | Select Test Result By Picking From Options In Drop Down Menu.
MAINT-001 | Inverter Maintenance (Out-Of-Band) [A, S] | NOT APPLICABLE | Select Test Result By Picking From Options In Drop Down Menu.
MAINT-002 | Inverter Maintenance (In-Band) [A, S] | NOT APPLICABLE | Select Test Result By Picking From Options In Drop Down Menu.
MAINT-003 | Group Maintenance [A, S] | NOT APPLICABLE | Select Test Result By Picking From Options In Drop Down Menu.
MAINT-004 | Maintenance of Controls [A, S] | NOT APPLICABLE | Select Test Result By Picking From Options In Drop Down Menu.
MAINT-005 | Maintenance of Programs [A, S] | NOT APPLICABLE | Select Test Result By Picking From Options In Drop Down Menu.
MAINT-006 | Maintenance of Subscriptions [A, S] | NOT APPLICABLE | Select Test Result By Picking From Options In Drop Down Menu.
UTIL-001 | Utility Server Startup Configuration Group Assignment of Inverters [S] | NOT APPLICABLE | Select Test Result By Picking From Options In Drop Down Menu.
UTIL-002 | Utility - Aggregator Operations Commissioning [A, S] | NOT APPLICABLE | Select Test Result By Picking From Options In Drop Down Menu.
UTIL-003 | Utility - Aggregator Operations Group Assignments Retrieval [A, S] | NOT APPLICABLE | Select Test Result By Picking From Options In Drop Down Menu.
UTIL-004 | Utility - Aggregator Operations DER Retrieval [A, S] | NOT APPLICABLE | Select Test Result By Picking From Options In Drop Down Menu.

## SunSpec RSD PICS (hidden)
SunSpec Rapid Shutdown PICS Template
Version 1.3
2019-11-01
Information Provided By The Customer |  | Example | Instructions
Company Name |  | ACME Inc | Enter the official name of the company that the SunSpec Certificate is issued to.
Company Address |  | 569 Regents Park Avenue | Enter the official street Address of the company that the SunSpec Certificate is issued to.
Company City |  | Boston | Enter he City associated with the official address of the Company.
Company State/Province |  | MA | Enter the State or Province associated with the official address of the Company. If not applicable, enter "Not Applicable."
Company Country | Select Country | United States | Enter the Country associated with the official address of the Company.
Company Postal Code |  | 12345 | Enter the Postal Code associated with the official address of the Company.
SunSpec Certificate Type | Select Certificate Type | SunSpec RSD | Select SunSpec Certificate Type requested.
SunSpec Device Category | Select Category | Transmitter | Select the category of device to be evaluated.
Test Laboratory | Select SunSpec ATL | ABC Test Lab | Select the SunSpec Authorized Test Laboratory that will perform the test.
Component Name <n> |  | Xilex-ZR5000 | The name of the certified component (chip or sub-system). Multiple fields of this type may be present. Individual fields are distinguished by adding a number at the end of the key label. | String
Component Name <n> |  | 3.7 | The version of the certified component (chip or sub-system). Multiple fields of this type may be present. Individual fields are distinguished by adding a number at the end of the key label. | String
Product Name <n> |  | Advance PV Modules | Enter the name of the Product that incorporates the SunSpec Certified Software or Component. Multiple fields of this type may be present. Individual fields are distinguished by adding a number at the end of the key label.
Product Model <n> |  | RQ-280W | Enter the model of the Product that incorporates the SunSpec Certified Software or Component. Multiple fields of this type may be present. Individual fields are distinguished by adding a number at the end of the key label.
Product Name <n> |  | Advance PV Modules | Enter the name of the Product that incorporates the SunSpec Certified Software or Component. Multiple fields of this type may be present. Individual fields are distinguished by adding a number at the end of the key label.
Product Model <n> |  | ZP-150W | Enter the model of the Product that incorporates the SunSpec Certified Software or Component. Multiple fields of this type may be present. Individual fields are distinguished by adding a number at the end of the key label.
Reserved For SunSpec Alliance
Certification Request ID
SunSpec Certificate Number
Certificate Type Version
Certificate Signer Name
Certificate Issued Date
Certificate Archive Location

## SunSpec RSD Test Results (hidden)
SunSpec Rapid Shutdown Test Results
Information Provided By SunSpec Authorized Test Laboratory
Instructions
Customer Name |  |  | Automatically populated by IEEE 2030.5/CSIP PICS template.
Certification Request ID |  |  | Automatically populated by IEEE 2030.5/CSIP PICS template.
Test Completion Date |  |  | Enter the date when the test was performed by the Test Lab.
Supervising Test Engineer |  |  | The name of the engineer who supervised the test process.
Test Comments |  |  | Comments pertaining to the certification test.
Test Name | Test Description | Result | Instructions
Test RSD Receiver-001 | Receiver input range electrical test | Select Test Result | Select Test Result By Picking From Options In Drop Down Menu.
Test RSD Receiver-002 | Receiver in band interferer rejection | Select Test Result | Select Test Result By Picking From Options In Drop Down Menu.
Test RSD Receiver-003 | Receiver out of band interferer rejection | Select Test Result | Select Test Result By Picking From Options In Drop Down Menu.
Test RSD Receiver-004 | Receiver impedance test | Select Test Result | Select Test Result By Picking From Options In Drop Down Menu.
Test RSD Receiver-005 | Receiver shutdown output voltage test | Select Test Result | Select Test Result By Picking From Options In Drop Down Menu.
Test RSD Transmitter-001 | Modulation accuracy test | Select Test Result | Select Test Result By Picking From Options In Drop Down Menu.
Test RSD Transmitter-002 | Transmitter output level test and transmitter output impedance | Select Test Result | Select Test Result By Picking From Options In Drop Down Menu.
Test RSD Transmitter-003 | Transmitter in band spurious emission test | Select Test Result | Select Test Result By Picking From Options In Drop Down Menu.
Test RSD Transmitter-004 | Transmitter out of band spurious emission test | Select Test Result | Select Test Result By Picking From Options In Drop Down Menu.
Test RSD Interop-001 | Start Process interoperability test: single receiver | Select Test Result | Select Test Result By Picking From Options In Drop Down Menu.
Test RSD Interop-002 | Stop Process interoperability test: single receiver | Select Test Result | Select Test Result By Picking From Options In Drop Down Menu.
Test RSD Interop-003 | Repeated Start and Stop interoperability test: single receiver | Select Test Result | Select Test Result By Picking From Options In Drop Down Menu.
Test RSD Interop-004 | Multiple receiver interoperability test | Select Test Result | Select Test Result By Picking From Options In Drop Down Menu.

## SunSpec RSD Test Results Detail (hidden)
SunSpec Rapid Shutdown Test Results Detail
Insert detailed test results here.

## Master Key-Value Pairs (hidden)
Scope | Information Provider | Key | Value | Instructions
All | Customer | Certification Request Order ID | Enter a unique order identifier. | String
All | Customer | Company Address | The official street Address of the company that the SunSpec Certificate is issued to. | String
All | Customer | Company City | The City associated with the official address of the Company. | String
All | Customer | Company Country | The Country associated with the official address of the Company. | Enumerated list. See "Enumerated Lists" tab for details.
All | Customer | Company Name | The official name of the company that the SunSpec Certificate is issued to. | String
All | Customer | Company Postal Code | The Postal Code associated with the official address of the Company. | String
All | Customer | Company State/Province | The State or Province associated with the official address of the Company. | String. Enter name of state or province or "Not Applicable".
All | Customer | Product Model <n> | The model of the Product that incorporates the SunSpec Certified Software or Component. Multiple fields of this type may be present. Individual fields are distinguished by adding a number at the end of the key label. | String. Mark "Not Applicable" is software is hosted in cloud.
All | Customer | Product Name <n> | The name of the Product that incorporates the SunSpec Certified Software or Component. Multiple fields of this type may be present. Individual fields are distinguished by adding a number at the end of the key label. | String.
All | Customer | SunSpec Certificate Type | The name of the SunSpec Certificate Type requested. | Enumerated list. See "Enumerated Lists" tab for details.
All | Customer | SunSpec Device Category | The category of device evaluated for the SunSpec Certificate Type. | Enumerated list. See "Enumerated Lists" tab for details.
All | SunSpec | Certificate Archive Location | The link to the Protocol Implementation Conformance Statement (PICS) of the SunSpec Certified Software or Component. | String (properly formed URL)
All | SunSpec | Certificate Issued Date | Date the SunSpec Certificate was issued. | Date: MM/DD/YYYY
All | SunSpec | Certificate Signer Name | The name of the person at SunSpec Alliance who approved the SunSpec Certificate. | String
All | SunSpec | Certificate Type Version | The version of SunSpec Certificate type. | String
All | SunSpec | Certification Request ID | A number assigned by SunSpec to uniquely identify the certification request and associated PICS. | String
All | SunSpec | SunSpec Certificate Number | Number of the SunSpec Certificate. | String
All | SunSpec | Test Description | The description of the test performed. | Enumerated list. See "Master Tests Names-Numbers" tab for details.
All | Test lab | Supervising Test Engineer | The name(s) of the employee of the Test Laboratory who performed the Tests. | String
All | Test lab | Test <Test ID> | The result of the test performed. Multiple fields of this type may be present. Individual fields are distinguished by adding a Test ID at the end of the key label. | Enumerated list. See "Enumerated Lists" tab for details.
All | Test lab | Test Comments | Comments pertaining to the certification test. | String. Mark "None" no comments are made.
All | Test lab | Test Completion Date | The date when the test was performed by the Test Lab. | Date: MM/DD/YYYY
All | Test lab | Test Laboratory | The SunSpec Authorized Test Laboratory that performed the Test. | Enumerated list.
CSIP | Customer | Cloud Platform Name | The name of the cloud platform product that the operates the certified Software. | String. If not applicable, enter "Not Applicable."
CSIP | Customer | Cloud Platform Provider | The name of cloud platform provider that hosts the certified Software. | String. Enter name of cloud provider or "Not Applicable."
CSIP | Customer | Cloud Platform Version | The version of cloud platform that operates the certified Software. | String. Enter version number of cloud platform or "Not Applicable."
CSIP | Customer | Operating System <n> | The name of the Operating System in which the certified Software runs. | String
CSIP | Customer | Operating System Version <n> | Major version number plus first digit of minor version number of the Operating System in which the certified Software operates, expressed as "X.X". Multiple fields of this type may be present. Individual fields are distinguished by adding a number at the end of the key label. | String
CSIP | Customer | Product Object ID | A unique number that is used to identify Product Name/Product Model combinations. Used to to populate the field "HwType OID" in a digital certificate as specified in the IEEE 2030.5-2018 standard.
CSIP | Customer | Software Checksum <n> | Checksum of the SunSpec Certified software. Multiple fields of this type may be present. Individual fields are distinguished by adding a number at the end of the key label. | String
CSIP | Customer | Software Name <n> | The file name of the certified Software including file type suffix. Multiple fields of this type may be present. Individual fields are distinguished by adding a number at the end of the key label. | String
CSIP | Customer | Software Operating Environment Type | The operating environment type in which the certified Software runs. | Enumerated list. See "Enumerated Lists" tab for details.
CSIP | Customer | Software Version <n> | The version number of the certified software. Multiple fields of this type may be present. Individual fields are distinguished by adding a number at the end of the key label. | String
RSD | Customer | Component Name <n> | The name of the certified component (chip or sub-system). Multiple fields of this type may be present. Individual fields are distinguished by adding a number at the end of the key label. | String
RSD | Customer | Component Version <n> | The version of the certified component (chip or sub-system). Multiple fields of this type may be present. Individual fields are distinguished by adding a number at the end of the key label. | String

## Enumerated Lists (hidden)
SunSpec Certificate Type | Company Country | SunSpec Device Category | Software Operating Environment Type | Test Result | SunSpec Authorized Testing Laboratory
Select Certificate Type | Select Country | Select Category | Select Environment Type | Select Test Result | Select SunSpec ATL
IEEE1815/AN2018 | Australia | Transmitter | Cloud | PASS | Bureau Veritas
Select Certificate Type | Austria | Receiver | Physical device | FAIL | CERE
IEEE 2030.5/CSIP | Brazil | Select Category |  | NOT SUPPORTED | CSA
Select Certificate Type | Canada | Client |  | NOT APPLICABLE | Intertek
SunSpec Modbus | Chile | Server |  |  | Intertek China
Select Certificate Type | China | Aggregator |  |  | Kyrio
SunSpec RSD | Costa Rica |  |  |  | KOMERI
| Czech Republic |  |  |  | Element
| Denmark |  |  |  | SGS
| Finland |  |  |  | SGS China
| Germany |  |  |  | TÜV Rheinland
| Greece |  |  |  | UL
Hong Kong
Hungary
India
Ireland
Israel
Italy
Japan
Mexico
Netherlands
New Zealand
Norway
Philippines
Poland
Portugal
Singapore
South Korea
Spain
Sweden
Switzerland
Taiwan
Thailand
United Kingdom
United States
Vietnam
Other

## Master Tests Names-Numbers (hidden)
Test Name | Test Description | Result | Instructions
Test CSIP BASIC-001 | BASIC-001 - DER Identification |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP BASIC-002 | Basic Group Management |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP BASIC-003 | Advanced Group Management |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP BASIC-004 | Basic Inverter Control (Low/High Voltage Ride-Through) |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP BASIC-005 | Basic Inverter Control (Low/High Frequency Ride-Through) |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP BASIC-006 | Basic Inverter Control (Dynamic Volt/Var Power) |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP BASIC-007 | Basic Inverter Control (Ramp Rates) |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP BASIC-008 | Basic Inverter Control (Fixed Power Factor) |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP BASIC-009 | Basic Inverter Control (Connect/Disconnect) |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP BASIC-010 | Basic Inverter Control (Limit Max Active Power Mode) |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP BASIC-011 | Basic Inverter Control (Volt-Watt) |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIPBASIC-012 | Basic Inverter Control (Frequency-Watt) |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP BASIC-013 | Basic Inverter Control (Set Active Power Mode - in % of Max Power) |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP BASIC-014 | Basic Inverter Control (Set Active Power Mode – in Watts) |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP BASIC-015 | Advanced Inverter Control |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP BASIC-016 | Event - 2 DERP , 2 DDERC, 0 DERC |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP BASIC-017 | Event - 1 DERP, 0 DDERC, 1 DERC |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP BASIC-018 | Event - 1 DERP , 1 DDERC, 1 DERC |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP BASIC-019 | Event - 1 DERP, 1 DDERC, 2 Non overlapping Similar DERC |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP BASIC-020 | Event - 2 DERP, 2 DDERC, 2 Non overlapping Similar DERC |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP BASIC-021 | Event - 2 DERP, 2 DDERC, 2 Overlapping Similar DERC - System DERC followed by Service Point DERC before Start of System DERC |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP BASIC-022 | Event - 2 DERP, 2 DDERC, 2 Overlapping Similar DERC - Service Point DERC followed by System DERC |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP BASIC-023 | Event - 2 DERP, 2 DDERC, 2 Overlapping Similar DERC - System DERC followed by Service Point DERC after Start of System Event |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP BASIC-024 | Event - 2 DERP, 2 DDERC, 2 Overlapping Independent DERC - System DERC followed by Service Point DERC before Start of System DERC |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP BASIC-025 | Event - 2 DERP, 2 DDERC, 2 Overlapping Independent DERC - Service Point DERC followed by System DERC |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP BASIC-026 | Event - 2 DERP, 2 DDERC, 2 Overlapping Independent DERC - System DERC followed by Service Point DERC after Start of System Event |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP BASIC-027 | Alarms |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP BASIC-028 | Inverter Status |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP BASIC-029 | Inverter Meter Reading |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP COMM-001 | Basic Discovery (xmDNS/DNS-SD) |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP COMM-002 | Basic Discovery (Out-of-Band) |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP COMM-003 | Basic Security |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP COMM-004 | Advanced Security |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP COMM-005 | Basic Authorization |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP COMM-006 | Basic Registration |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP CORE-001 | HTTP Header |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP CORE-002 | HTTP Response |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP CORE-003 | Polling Interaction |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP CORE-004 | List Handling |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP CORE-005 | Basic Time |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP CORE-006 | Advanced Time |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP CORE-007 | Device Capability |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP CORE-008 | Basic End Device |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP CORE-009 | Advanced End Device |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP CORE-010 | Function Set Assignments |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP CORE-011 | Advanced Function Set Assignments |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP CORE-012 | Basic DER Program/Control |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP CORE-013 | Advanced DER Program/Control |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP CORE-014 | Basic DER Settings (Power Generating) |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP CORE-015 | Basic DER Settings (Storage) |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP CORE-016 | Advanced DER Settings (Power Generating) |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP CORE-017 | Advanced DER Settings (Storage) |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP CORE-018 | Basic Subscription |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP CORE-019 | Advanced Subscription |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP CORE-020 | Mirrored Metering |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP CORE-021 | Randomized Events |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test CSIP CORE-022 | Responses |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test RSD Interop-001 | Start Process interoperability test: single receiver |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test RSD Interop-002 | Stop Process interoperability test: single receiver |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test RSD Interop-003 | Repeated Start and Stop interoperability test: single receiver |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test RSD Interop-004 | Multiple receiver interoperability test |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test RSD Receiver-001 | Receiver input range electrical test |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test RSD Receiver-002 | Receiver in band interferer rejection |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test RSD Receiver-003 | Receiver out of band interferer rejection |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test RSD Receiver-004 | Receiver impedance test |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test RSD Receiver-005 | Receiver shutdown output voltage test |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test RSD Transmitter-001 | Modulation accuracy test |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test RSD Transmitter-002 | Transmitter output level test and transmitter output impedance |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test RSD Transmitter-003 | Transmitter in band spurious emission test |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"
Test RSD Transmitter-004 | Transmitter out of band spurious emission test |  | Enumerated list. Choices are "PASS" or "FAIL" or “NOT SUPPORTED” or "NOT APPLICABLE"